To be cited as follows:

Carniel S., Kantha L.H., Book J., Prandke H. and M. Sclavo, 2012. Turbulence in the upper layers of the Southern Adriatic Sea under various meteorological conditions during Summer 2006. Continental Shelf Research, 44, 39-56.DOI:10.1016/j.csr.2011.01.003

Turbulence variability in the upper layers of the Southern Adriatic Sea under a variety of atmospheric forcing conditions

Sandro Carniel1,*, Lakshmi H. Kantha2, Jeffrey W. Book3, Mauro Sclavo1, Hartmut Prandke4

1CNR-ISMAR, Venice, Italy

2Department of Aerospace Engineering, University of Colorado, Boulder, Colorado, USA

3U.S. Naval Research Laboratory, Stennis Space Center, Mississippi, USA

4ISW Wassermesstechnik, Petersdorf, Germany

* Corresponding author. Tel. +39 041 2407956; E-mail: sandro.carniel@ismar.cnr.it

Abstract. As part of the DART06B observational campaign in late August 2006, a microstructure profiler was deployed to make turbulence measurements in the upper layers of the Southern Adriatic Sea. Of the nearly 300 total casts, 163 were made near Station B90, where various moorings were deployed in the 90 m deep water column to measure water column properties and meteorological and surface wave conditions. We were able to measure turbulence properties in the upper layers under a variety of atmospheric forcing conditions that included strong wind forcing, night-time convection, mixed convection and wind forcing, weak wind forcing and strong insolation. The resulting dataset provides a kaleidoscope of turbulence properties and turbulent mixing above, below and in the strong pycnocline present at a depth of 15 to 25 m in the coastal waters of the Southern Adriatic Sea during late summer. A slightly modified scaling of the dissipation rate of turbulence kinetic energy in the mixed layer (ML), based on the observed friction velocity u* and the surface buoyancy flux Jb0, reproduces the measured values reasonably well. In the interior, below the ML, the dissipation rate scales like, where LT is the Thorpe scale and N is the buoyancy frequency.  Analysis of velocity and density profile measurements from Station B90 and the nearby station B75 suggest that anticyclonic eddies and near-inertial waves can interact in these coastal waters to produce significant horizontal advective density fluxes in the pycnocline.

Keywords: Turbulent mixing, microstructure, mixing processes.

1. Introduction

Turbulent mixing in the upper ocean is important to many aspects of oceanography, such as air-sea interactions and near-surface properties, as well as practical applications such as search and rescue and oil spill tracking. Yet, turbulence measurements are not carried out routinely in oceanographic surveys, and even when they are made, they are not often done in concert with auxiliary measurements necessary for interpretation of turbulence properties.  Thus, datasets which contain measurements of on-site meteorological parameters and of ocean currents together with microstructure profiles provide valuable case studies of one dimensional mixing budgets and help to improve our understanding of turbulent mixing parameterizations.

As part of the Naval Research Laboratory/NATO Undersea Research Center (NRL/NURC) Dynamics of the Adriatic in Real Time (DART) Project, we performed turbulence measurements in the upper layers of the Adriatic Sea during DART 06A (see Carniel et al., 2008) and 06B cruises in late March and August of 2006, respectively. We were able to deploy a turbulence microstructure profiler from the NATO RV Alliance and measure the dissipation rates of turbulent kinetic energy (TKE) and temperature variance, and infer eddy diffusivities in the water column. Nearly 500 profiles were obtained, 300 of them during the DART 06B cruise of which 163 were made at a single station outside the Gulf of Manfredonia in the Southern Adriatic Sea under a variety of environmental conditions. This station was selected for turbulence measurement focus as it provided the maximum amount of auxiliary observational data for interpretation.

There has been an upsurge of interest in recent years in the Adriatic Sea: Dynamics of Localized Currents and Eddy Variability in the Adriatic (DOLCEVITA: Lee et al., 2005), Adriatic Circulation Experiment (ACE: Book et al., 2007), and ADRIA01-03 carried out in the early 2000’s in the northern Adriatic, and the Joint Research Project undertaken by NRL, NURC, and other partners in the southern Adriatic under the DART-06 campaigns. Although each of these campaigns had diverse and multiple focuses, several have included direct measurements of the turbulent properties of the Adriatic Sea (Peters and Orlic, 2005, Peters et al., 2007, Carniel et al., 2008, and this study). As part of DART, several moorings were deployed in the coastal waters around the Gulf of Manfredonia (see Figure 1). These included moorings capable of measuring the velocity structure in the water column using upward-looking ADCPs deployed in trawl-resistant bottom mounts. Many of these were the relatively new SEPTR moorings, which also had profilers and sensors to measure water column properties as well as meteorological and wave conditions (Book et al., 2008). One such mooring was deployed at station B90 (41.67 °N, 16.60 E°) in 90 m deep waters east of Manfredonia, close to the Western Adriatic Current (WAC) frontal system. During the August 2006 DART 06B cruise, we spent considerable amount of time in the immediate vicinity of B90 (Figure 1) making microstructure measurements (Table 1) in the upper layers of the water column.

We were able to measure turbulent mixing in the summertime strongly stably stratified water column under a variety of meteorological forcing conditions. In this paper, with the help of the meteorological measurements made by the NRV Alliance and other data collected there, we describe the turbulence and mixing properties that characterized the conditions at B90. These measurements highlight the natural variability that characterizes these kinds of observations over various atmospheric forcing conditions. Additionally, the adjacent mooring, SEPTR B75, can be used together with SEPTR B90 to make a first estimate of some factors affecting the three dimensional mixing budget of this coastal frontal system.

2. Measurements framework

Microstructure measurements were carried out from August 21, 13.09 UTC, to August 26, 15.13 UTC in 6 Observation Periods (OPs, see Table 1, indicating also the number of profiles during each experiments). The microstructure profiler used was the MSS 90L, an advanced version of that described by Prandke et al. (2000) for simultaneous precision measurements of microstructure and physical parameters in marine and limnic water. The suite of sensors consisted of two shear probes for turbulence measurements, a thermistor for temperature microstructure, a precision CTD and a turbidity probe. The profiler was also equipped with a vibration control sensor, a two-component tilt sensor and a water surface detection sensor. The sampling rate for all sensors was 1024 samples per second; the resolution was 16 bit. All sensors were mounted at the measuring head of the profiler, the microstructure ones being placed about 150 mm in front of the CTD sensors. Simultaneous measurements of microscale temperature and velocity shear enables turbulence dissipation rates and diffusivities to be inferred (see Appendix A for details and Figure A.1, representing a sketch of the apparatus used).

The profiler was balanced with negative buoyancy, which gave it a sinking velocity of about 0.6 m s-1, and was operated via a dedicated winch, with disturbing effects caused by cable tension (vibrations) and the ship’s movement isolated by sufficient slack in the cable to ensure free fall. All MSS measurements were carried out from the most forward point on the bow of NRV Alliance while the ship drifted freely under the influence of the prevailing winds and currents. This enabled the profiler to sample ambient water masses free from the turbulence wake generated by the submerged part of the drifting ship itself, therefore allowing for measurements as close as 2 m from the sea surface. Depending on depth, the measurement interval was between 3 and 5 minutes. The raw data from the MSS profiler were directly transmitted to the on-board unit of the measuring system, and then to a notebook for data registration. After the data collection was completed, each profile was examined and edited manually, and then processed onboard to infer turbulence dissipation rates and diffusivities.

Besides microstructure measurements, a number of auxiliary data was acquired in the proximity of the B90 station, both in the atmosphere and in the ocean.  On the atmospheric side, two meteo stations were operating on board the NRV Alliance, located on the forward mast at a height of approximately 23 meters above the sea surface. The units were carrying two sensors for the wind speed (ms-1) and direction (degrees), air temperature (°C), barometric pressure (mbar) and relative humidity, and one sensor for solar irradiance (Wm-2). Sampling rate was 30 seconds, and in this paper we will be using 60 second averages for computing the associated heat fluxes.

During the period of observations, some remote sensing products were acquired and processed by CNR-ISAC Rome: sea surface temperature (SST) fields from Advanced Very High Resolution Radiometer (AVHRR) and the surface chlorophyll concentrations from MODIS Aqua. Considering the trade-off between uncontaminated images and frequency of observations, the most useful products turned out to be the daily averaged composite images of SST and the instantaneous Chlorophyll maps.

Several instruments deployed around B90 provided useful data to complement microstructure measurements. A wave rider (from NURC) was operating during all the concurrent periods of turbulence measurements in the proximity of the station (41.68 °N, 16.59 °E), providing values of significant wave heights and periods. The SEPTR buoy (from NRL) provided full water column profiles of temperature and salinity every 6 hours via a winched CTD buoy.  This low sampling rate, as dictated by the mooring deployment time and battery duration, provided only twenty water-column profiles from the start of the first OP to the end of the last OP, and therefore was not sufficient to allow us to reconstruct high frequency processes during the period of turbulence measurements. However, a string of 16 thermistors (from NURC) was also moored at B90, with a vertical spacing of 5 m starting from the upper one positioned at 10 m depth, and with a sampling rate of 3 minutes (see Section 3.2). The SEPTR was also equipped with an ADCP working at 300 KHz, which covered the water column in a burst mode every 15 minutes during the OPs. The bin size was 1 m, with the first useful bin located 8 m below the surface. Besides providing high-resolution velocity measurements, an additional benefit of the four SEPTRs (see green dots in Figure 1 for their location) was that they made synoptic measurements of water-column currents, temperatures, and salinities at all measurement sites, allowing estimates of horizontal gradients for these properties.

3. Observations

3.1 Meteorological conditions

Figure 2 shows the meteorological conditions at station B90 during the six OPs as determined from shipboard sensors described in the Introduction. The top panel represents the air and sea temperatures, the middle one the wind speed and the bottom one the relative humidity.

Figure 3 (top panel) shows the heat fluxes (W/m2) during the campaign. The net shortwave radiation has been estimated using incoming short wave radiation measurements and the albedo following Payne (1972), while the net long wave radiation using Berliand’s formula (see Budiko, 1974 for details) and turbulent fluxes (sensible, latent) following Fairall et al. (1996) formulation. The (bulk) sea surface temperature used in these computations is the uppermost temperature measured by the MSS (roughly 2 m depth).

Figure 3 (bottom panel) presents the resulting buoyancy fluxes at the surface. The average buoyancy fluxes at the surface are given by = +. The first term of the right hand side represent the heat buoyancy fluxes ((= 0.216·10-3 oC-1, g is the gravity acceleration, Hnet is the net heat flux, ρ is a reference value for density, 1026 kg/m3, and Cp =3.98 103 J kg-1 °C-1 is the specific heat of seawater at constant pressure), shown in Figure 3 (bottom panel) as red dots. The second term of the right hand side are the evaporative buoyancy fluxes (where ( = 0.77·10-3 oPSU-1, S is the surface salinity, Hlat is the latent heat flux and (e latent heat of vaporization; they are shown in the same panel as blue dots). The latter are much smaller than those due to the heat fluxes at the surface, and therefore the sum  reflects mostly the heat buoyancy fluxes. There was no precipitation, and therefore we could not measure turbulence properties under the stabilizing influence of rain. Evaporation rates were also assumed to be small and the effect of the net salt flux on the density structure was ignored. Therefore, any change in salinity seen during the measurement period is assumed to be either due to entrainment or the ship drifting through regions of different salinities.

Figure 4 (top panel) shows the values of friction velocity  (cm/s, defined as , where τ is the wind stress obtained from data and ρ is the water density) and convection velocity scale  (defined in case of convective situations, where  is the average surface buoyancy fluxes and D is the mixed layer depth, calculated using a temperature-gradient based algorithm). The bottom panel of Figure 4 shows the Monin-Obukhov length scale , the height above which convectively driven turbulence dominates over mechanically driven turbulence (note that L is negative if the buoyancy flux corresponds to heat losses, opposite to that of Lombardo and Gregg, 1989, LG89 henceforth, who employ the atmospheric convention for the heat fluxes, i.e., L is positive in case of heat losses).

The effective turbulence velocity scale depends on both the friction velocity u* and the convective velocity scale ; their relative magnitude, expressed by , determines whether the wind stress or the buoyancy flux dominates turbulence production (see Figure 4, bottom panel). When , then shear-generated turbulence dominates the mixed layer (ML) as a whole; when , turbulence in the bulk of the ML is convection-driven (Kantha 1995).

Microstructure measurements were made for a few hours on 21st, 22nd, 25th and 26th of August at B90. Because of the late summertime conditions, there was a strong thermocline and a coincident halocline at a depth of around 15 to 20 m. The pycnocline was strong with a density change of 2.6 kg m-3 within a depth change of 15 m. Under these conditions, the surface-driven turbulence cannot be expected to penetrate much below the upper 15-20 m, and any turbulence in the pycnocline is most likely related to shear instabilities or horizontal mixing processes.  Below the pycnocline, one can expect low levels of turbulence and mixing and indeed, below about 35-40 m, the background dissipation rate seldom exceeded 10-9 W kg-1. We did not make turbulence measurements in the bottom boundary layer of the water column.

3.2 Hydrological conditions

Temperature profiles provided by the thermistor string, and winds from the meteorological model maintained by the COSMO consortium (www.cosmo-model.org) operating at a resolution 7x7 km, Signell et al. 2005) at the B90 location are plotted in Figure 5. The black dots represent the times when the ship was repositioned to be at the station before starting each of the 6 OPs of turbulence measurements. Overall, the ML depth was relatively constant during the 6 days of turbulence measurements. OP-1 and OP-2 were characterized by a shallower thermocline, around 18 m, that deepened to about 25 during OP-3, as a consequence of a rather energetic wind event. Despite a general tendency of warming in the very upper layers during the following days, OP-4 had a ML depth of about 20 m, while during OP-5 and OP-6 the ML depth was again somewhat shallower. ML depth variations in this region are not only due to local one-dimensional processes but are strongly affected by the mesoscale dynamics of the WAC frontal system (Burrage et al., 2009). Below the upper 35 meters, the conditions remained relatively unchanged throughout the OPs.

An analysis of the available satellite images (not shown) shows the general surface conditions in the region surrounding station B90. At the start of the OPs, the region was characterized by complex fronts, with surface water masses having temperatures between 25 and 25.5 °C south of Gargano promontory and to the west of B90, slightly warmer than and separated from the offshore colder waters. Surface temperature was relatively constant from 21st to 23rd, but a general warming of the ocean surface occurred on August 24th becoming more evident on the 25th with temperatures increasing to 27 °C. Even though the SSTs were roughly 1.5 °C higher, the water mass structures were very similar to those characterizing the situation during August 21st to 23rd, with warmer masses in the west, colder ones to the east, and the station still located in the region of frontal activity. Some further descriptions of the details of the frontal and mesoscale eddy dynamics of this region can be found in Burrage et al. (2009) and Magaldi et al. (2010).

The array of moored observations shows the general mesoscale conditions prevailing at Station B90 during the OPs.  ADCP measurements at Station B90 itself (Figure 6) show general flow in the mixed layer towards the southeast (along-shore WAC direction), punctuated at the beginning of the OPs by alternating pulses of positive and negative velocities in both velocity components. As shown by an inertial band-pass filter of the velocities, (Figure 6, bottom panel) these clockwise rotating currents are near-inertial internal waves with a characteristic phase reversal at the thermocline and were particularly strong in the first 3 OPs, i.e., from August 20st to August 24th.  After the latter date, near-inertial oscillations were much reduced in the mixed layer, but increased to a new maximum at the depth level of the pycnocline where inertial velocities were previously at a minimum (Figure 6, bottom panel).  B90 and other ADCP observations show that the station was generally located in the offshore side of an anticyclonic eddy (e.g., see Figure 2a of Burrage et al., 2009) during the OPs.  The negative relative vorticity at B90 from this eddy increased after O-P3, and the pycnocline maximum of near-inertial energy followed this increase after about one inertial cycle.  This is suggestive of the process of stalling and trapping of near-inertial waves with frequencies below Coriolis at the base of a region of negative vorticity such as an eddy or ring as described in Kunze et al. (1995) and previous works.

To further test this hypothesis, we computed the across-shore relative vorticity component from low-pass filtered (28-hour cutoff) velocities measured at stations B90 and B75, and used the complex demodulation procedure described in Herbert and Moum (1994) to estimate the amplitude and frequency of near-inertial waves at different depths and for specific time periods.  Consistently from OP-3 to OP-6 the upper 20 m of the water column had across-shore relative vorticities near -0.1 times Coriolis allowing near-inertial waves to travel downward to the base of this region of negative vorticity.  The hypothesis of stalling near-inertial waves at the base of the anticyclone is further supported by the complex demodulation analysis as the results show a 20.2 cm/s amplitude near-inertial wave at 15 m depth over the period Aug. 21-24 decaying in amplitude to 6.0 cm/s over the period Aug. 24-27 while at the same time the amplitude at 25 m grows from 7.2 to 13.7 cm/s.  At 15 m for Aug. 21-24 and at 25 m for Aug. 24-27, both near-inertial waves are found to have frequencies of 1.035 times the inertial frequency with respect to a stationary observer.

The velocity shears in both directions (not shown) indicate a maximum in the thermocline region (15 to 25 m), the region deepening slightly during the OPs. Almost all of the shear maximum can be attributed to the effect of the near-inertial oscillations, which force a phase reversal at the thermocline during OPs 1-3 and have a velocity maximum near the thermocline for OPs 4-6. From the B90 ADCP velocities and the Brunt-Vaisala frequencies computed from the MSS profiler data, we computed gradient Richardson numbers  in the water column during the various OPs. The median values are shown in Figure 7, where the thick line corresponds to Ri value of 0.25 and OP-5 and OP-6 have been grouped together. The median is a better representative of a typical Ri profile than the mean because Ri can become very large in a few instances when the shear is near zero and these values skew the mean towards larger values.  It can be seen that in the ML, Ri is usually much less than 0.25, while in the pycnocline region and slightly below that depth, Ri is usually much higher than 0.25 (note the logarithmic scale). In the lower water column, the median Ri remains close to 0.25 and individual profile values frequently fall below that value during all the OPs.

To further analyze the Ri results, the velocity shear was divided into different components and Ri profiles and medians were calculated (not shown) using certain frequency bands of velocity shear rather than the total velocity shear which is used in Figure 7.  Our tests show that low Ri values were not usually produced by the low frequency components (low-pass filter with 28 hour cutoff) of the flows, near-inertial band components (band-pass filter with cutoffs at 12.6 and 20 hours), or tidal currents (response analysis).  Rather, low Ri values in the ML and in the lower water column were generally produced by the high frequency components (high-pass filter with 11 hour cutoff) of the flow.  Error ensembles were constructed to test sensitivity to noise in the Ri calculation and the qualitative results from the calculation were found to be significantly above the resulting expected uncertainties in Ri median values.

Therefore, it can be concluded that while inertial-band and lower frequency shears were generally not strong enough to produce shear instabilities even in the well mixed regions of the water column, short-time scale shears, presumably linked to small spatial scales, were sufficiently strong at station B90 during our measurements to produce these instabilities, especially in the surface ML, and could have played a role in turbulent mixing above and below the pycnocline regions.

However, in the pycnocline regions, no velocity shears (including the maximum shears associated with near-inertial waves) were generally strong enough to overcome stabilizing effect of the stratification, and turbulent mixing due to shear instabilities should have been suppressed at these depths during our measurement periods.

In agreement with this finding, preliminary results obtained while integrating the General Ocean Turbulence Model (GOTM) during OP-2 have shown that, when assimilating SEPTR ADCP data via a simple relaxation scheme (nudging), the modeled dissipation rate of the TKE was in better agreement with measurements than the case with no assimilation of velocity data. This was not true when using the NRV Alliance shipboard ADCP data (300 KHz, 4 meters depth bin resolution), confirming that the improvement was due to the relatively high vertical resolution of SEPTR ADCP data that enabled the velocity shears to be adequately resolved at small scales.

The wave rider data showed that the wind waves were generally small (e.g. 0.35 m in OP-3 and 0.80 m in OP-5/6), reaching a maximum value of 1.2 m only for a short period during OP-2. The effect of surface waves on mixing will therefore be ignored.

3.3 Turbulence

Data from the microstructure profiler enabled Thorpe scale LT indicative of the turbulence overturning scale to be determined in addition to the dissipation rate of TKE,  the dissipation rate of temperature variance, and eddy diffusivity K( and heat diffusivity Kh. Standard sorting procedure was used to determine the Thorpe scale (Thorpe, 1977), calculated from the potential density profiles.

3.3.1 Weak surface forcing (OP-1)

During the early afternoon of August 21st, the wind was moderate with an average value of about 4.9 m s-1 (u* ~ 0.58 cm s-1), and the solar insolation was such that the net buoyancy flux at the surface was stabilizing with an average heat flux of about 260 W m-2 (see Figures 2 and 3).  This caused the turbulence in the upper layers to be very weak as can be seen from the dissipation rates and the Thorpe scale in Figure 8, which shows individual casts as well as the average profiles with relative bootstrap confidence intervals (bootstrap data samples were 1000 in each analysis). While the pycnocline depth was about 13 m, the Monin-Obukhov length scale L was only 5.2 m so that below this depth, one can expect turbulence to be rather weak.

The pycnocline was strong as indicated by the maximum buoyancy frequency N of about 0.05 s-1. The small Thorpe scale LT (less than 0.5 m) is indicative of the weak mixing above the pycnocline. The diffusivities K( and Kh derived from the measured TKE and temperature variance dissipation rates ( and ( are consistent with each other.

3.3.2 Wind-driven turbulence (OP-2)

Towards the evening of August 21st, the winds picked up reaching a maximum speed of 13.1 m s-1 at the beginning of the observations, then decreasing to 11.2 m s-1 at the end (Figures 2 and 3), with an average value of around 10.8 m s-1 (~1.29 cm s-1). The net heat flux at the surface reversed so that the ocean cooled with an average heat loss of about -161 W m-2 during the 105 minutes of microstructure profiling. The average buoyancy flux at the surface Jb0 was   -1.02 ·10-7 m2s-3 and the ML depth 13 m so that ~ 1.0 cm s-1. The ratio R ~ 0.6 indicates that the turbulence was predominantly wind-driven in the bulk of the ML. This is also supported by the large Monin-Obukhov length scale, ~58 m, so that D/L (where D is the mixed layer depth) was only 0.22. The Thorpe scales were large in the ML (Figure 9) reaching a maximum of 2 m indicating strong mixing. Once again, the diffusivities K( and Kh derived from ( and ( are consistent with each other.

As pointed out by Pollard et al. (1973), the ML results can also be interpreted along the line of reasoning that upon the introduction of a wind stress the upper surface layer deepens until the MLD reaches a value given by  .  is a constant (23/4 for Pollard et al., 1973), is the friction velocity,  is the buoyancy frequency of the layer adjacent to the (surface) ML ((0.03 s-1 in our case) and is the Coriolis parameter (9.66 ·10-5 s-1 at the B90 latitude). Generally speaking, wind stress acts as a source of both internal gravity waves and mixing in the upper ocean; the sharp transition between the acceleration induced in the ML and the stratified region beneath generates relatively strong shears at the base of ML, responsible for its continuous deepening. Adopting the simple 1-D parameterization introduced by Pollard et al. (1973) for this OP leads to a value of  as maximum expectable depth of the surface ML, that seems a reasonable value compared to the evidence and the approximations (see again Figure 5). The wind injection that characterized OP-2 is then leading to an erosion (i.e. deepening) of the existing thermocline, the most likely interpretation of the mixing process being due to breaking internal waves. More recent works (Lozovatsky et al., 2005) seem to demonstrate that the highest correlation between the ML depth (both the measured value and the one obtained via computation) and the friction velocity  is reached at a time shift of 12 hours, being the time lag possibly associated with the spin-up time of inertial oscillations. The same paper proposes a new value for =1.9, demonstrating that the constant is, at least to some extend, case-dependant. However, since the next observations after OP-2 in the same area were carried out about 30 hours later, we are not able to draw more in-depth considerations on this phenomena and we limit our discussion at this level, being that its full interpretation beyond the scope of the present article.

3.3.3 Convection-driven turbulence (OP-3)

On the other hand, on August 22nd-23rd, around midnight, winds died down but the clear sky and the warm SST (warmer than the air temperature) led to considerable cooling (Figures 2 and 3). Figure 10 shows the dissipation rates and diffusivity coefficients measured during this time. The pycnocline depth was 20 m and the buoyancy flux Jb0 was -6.92·10-8 m2s-3 yielding a value ~ 1.1 cm s-1. The average wind speed was 3.4 m s-1 so that ~ 0.4 cm s-1 and the ratio R ~ 21.5. Clearly, the turbulence in the bulk of the ML was buoyancy-dominated. This is also indicated by the Monin-Obukhov length scale of 2.3 m, much lower than the depth of the ML. The large Thorpe scales (maximum of nearly 3 m) in the ML are indicative of strong convection-driven mixing.

3.3.4 Mixed forcing (OP-4)

During the night of August 24th/25th, around midnight, once again conditions were conducive to nighttime cooling with an average heat flux of 190 W m-2. However under moderate winds of 7.2 m s-1 (average) and a ML depth of 18 m, ~ 0.9 cm s-1 and ~ 1.3 cm s-1 so that R ~ 3.0. Turbulence was therefore both convection and wind-driven, with the former somewhat stronger than the latter. Figure 11 shows the measured dissipation rates and the inferred diffusivities. The large Thorpe scales (maximum of nearly 3 m) in the ML are again indicative of strong mixing.

3.3.5 Turbulence under daytime heating (OP-5/6)

On August 26th, we started microstructure measurements at 13:08 UTC. There was strong solar insolation at that time, and the net heat flux was about 493 W m-2 and into the ocean. The stabilizing heat flux suppressed turbulence, and the the light wind at 3.1 m s-1 was the primary source of turbulence near the surface. The Monin-Obukhov length scale L was only 1.9 m. But by 14:40 UTC, the winds had picked to about 6.8 m s-1 and the net heat flux had reduced to 300 W m-2 so that L increased to 7.3 m. Under these conditions, the turbulence should be confined to a depth of the order of L even though the thermocline/pycnocline was deeper, around 13 m. This is indeed what is observed as can be seen in Figure 12, which shows individual casts as well as the average profiles and the relative bootstrap confidence limits. The dissipation rate below about 5 m depth can be seen to be close to the background level, even though immediately below the pycnocline, turbulence dissipation levels are slightly elevated. Weak nature of turbulence in almost the entire water column is evident from the rather small Thorpe scale in the water column (note that the microstructure measurements are missing in the upper 3 m or so). Slight stable stratification in the ML is also evident in the temperature and density profiles.

The winds continued to increase and the net heat flux continued to decrease in the afternoon so that L had increased to 13.4 m by 14:45 UTC and 21.4 m by 15:15 UTC (OP-6). Wind-generated turbulence was consequently stronger as is evident from the Thorpe scale in Figure 13, but also penetrated deeper into the ML. The active ML appears to be around 14-15 m, comparable to the average L of 17 m during this period. This lends support to the idea that under a stabilizing buoyancy flux, the turbulent ML depth is proportional to the Monin-Obukhov length scale L.

4. Turbulence scaling

4.1 Turbulence Scaling within the Mixed Layer (ML)

Turbulence is generated in the upper ML by the momentum and buoyancy fluxes at the surface. Surface gravity waves also contribute to the TKE budget through wave breaking and Stokes production (Kantha and Clayson 2004, Kantha et al. 2010). Wave breaking leads to enhanced turbulence levels very near the surface (e.g. Anis and Moum, 1995) and the interaction of the Reynolds stresses due to the wind stress and the shear due to Stokes drift leads to TKE production in the ML (Kantha et al. 2010; Carniel et al., 2005). Since the falling microstructure probe did not allow us to make measurements in the upper 2-3 m, where the influence of surface wave breaking on the TKE dissipation rate would be important, we were not able to account for wave breaking. We did not observe any windrows during daytime when the ambient light enabled us to see the air-sea interface clearly. Neither did we see them during measurements at night, at least in the immediate vicinity of the bow. More importantly, as shown in Section 3, the significant wave heights that were measured were very small. Therefore, we expect the contribution of Stokes production of TKE to turbulent mixing in the shallow ML to be rather small.

When the turbulence in the ML is mechanically driven by the wind stress, away from the surface where turbulence produced by wave breaking is important, the law of the wall prevails, so that the TKE dissipation rate follows the relationship , where is the von Karman constant, u* is the friction velocity and z is the distance from the surface. This similarity relationship (Dillon et al. 1981) should hold in the upper layers (below roughly 2-3 m affected by any wave breaking, where microstructure measurements could not be made). The closest analogy to the wind stress-driven ML is rotating Couette flow, except that there is no rigid wall at the bottom of the ML. Unlike for Couette flow where a log law region exists adjacent to the bottom wall, for the wind-stress driven ML a log-law region exists near but away from the surface of the ML and the behaviour near the bottom of the ML is rather uncertain. Shear driven mixing is not as efficient as convective mixing and hence the dissipation rate profile is not perfectly uniform. Nevertheless, it is reasonable to assume , where D is the mixed layer depth and c1 a constant whose value can be determined by matching this outer law to the inner law near the wall. It is well known that ion all turbulent boundary layers, the macroscale of turbulence is proportional to the distance from the wall z and therefore the dissipation rate varies as the inverse of the distance.  We therefore take  in the wind stress-driven mixed layer to be:

where the value of 3.33 results from matching the above two segments at z=0.3D, the value of 0.3 being chosen based on results of laboratory Couette flow experiments (e.g Tillmark and Alfredsson, 1993 and references cited therein).

Under pure convection, the momentum flux is zero and turbulence is driven solely by buoyancy flux. It is common (Shay and Gregg 1984, 1986, LG89, Peters et al. 1988, 2007) to assume that the dissipation rate is uniform and equal to  in the entire ML. The value of c2 can be determined as follows. Under equilibrium and quasi-equilibrium conditions, the buoyancy flux in a convective ML is linear, decreasing from Jb0 at the surface to –dJb0 at the bottom, the negative value resulting from entrainment due to penetrative convection. The integral of the buoyancy flux over the ML, which is indicative of the total production rate of TKE in the convective ML, is therefore . Since the integral of the dissipation rate of TKE in the ML  must equal , we get . The upper bound on d is 0.5 (Kantha 1980), so that c2 = 0.25. For non-penetrative convection that results when the pycnocline bounding the ML is very strong and the governing Richardson number becomes very large, d = 0 (Kantha 1980) and therefore c2 = 0.5. The usual value of d is however 0.2 (Kantha 1980), So that c2 = 0.4. We therefore adopt the following scaling for the TKE dissipation rate in the convective ML:

(2)

Note that the conventional value for c2 is 0.58 (e.g. LG89 – Eq. 4 below), which is unlikely since the absolute upper bound, as shown above, is 0.5.

For regimes in between when the turbulence is generated by both a momentum flux and a destabilizing buoyancy flux (i.e. 1 < -D/L < 10), it is reasonable to assume the TKE dissipation rate  in the ML to be the sum of those due to shear-driven and buoyancy-driven turbulence:

(3)

with  and given by Eqs. (1) and (2).

Within the ML then, we will therefore test the parameterization (3) against the more conventional LG89:

(4)

which was also proposed by Brainerd and Gregg (1993a, 1993b) and adopted by Stips et al. (2002). The latter reported results that were in acceptable agreement during periods characterized by daylight stratification, but failed during night-time convection, when the formulation exceeded the measured dissipation rates by a factor of 5. Stips et al. (2002) measurements were carried out in December and were characterized by a general heat loss to the atmosphere, both during day and night-time. This is significant since LG89 proposed their scaling for night-time conditions characterized by convection processes and largest heat losses.

4.2 Turbulence Below the Mixed Layer (ML)

In the stably stratified layers in the interior of the water column below the ML, turbulence generation is mainly due to shear-induced instabilities. Therefore, both  and  go to zero, and the relevant length scale is the Ozmidov scale, defined as

(5)

(where εI is the dissipation rate in the interior layers) which is indicative of the maximum size of the eddies (overturns) in a stably stratified fluid. If an independent estimate of this length scale could be obtained from measurements, the TKE dissipation rate and hence the eddy diffusivity can be inferred.

As mentioned in the previous section, Thorpe (1977) suggested an elegant method to obtain an estimate of the length scales associated with overturning events in a stably stratified water column, by reordering the observed potential density profiles (which may contain local overturns and hence local regions of unstable stratification) into a stable, monotonic ones. The Thorpe scale LT is then defined as the root mean square (rms) of the resulting displacements, and provides an estimate of the vertical size of the overturns in the water column. Dillon (1982) compared LT with the Ozmidov scale LO, and proposed LO  = 0.79 LT, provided the eddies are not too close to the sea surface where they “feel” the boundary, suggesting this distance to be about 10 LO. By assuming

LO  = c0 LT                  			                                                      (6)

an estimate of the overturn scale can be made and this provides an alternative means of inferring the TKE dissipation rate ( in the water column below the ML, provided the background value of local N can also be estimated. The best way to deduce the background value of N is from the sorted monotonic density profile (Dillon, 1982; Thorpe, 2005). Eqs. (5) and (6), lead to

(7)

where the coefficient CK is simply the square of the proportionality constant in Eq. (6). Considerable efforts have been expended in determining the value of c0 (see Thorpe, 2005 for a summary and Dillon 1982 for a lucid discussion of the Thorpe scale and related issues). Plots of the observed LT versus Lo in the ocean show considerable scatter (Osborn, 1980; Dillon, 1982; Wesson and Gregg, 1994; Moum, 1996; Peters et al., 1988; Ferron et al., 1998; Gargett, 1999; Caldwell, 1983; Galbraith and Kelly, 1996; Fer et al., 2004) typical of all microstructure measurements, and so the value of c0 does involve some uncertainty. For instance, using aggregated data, Wesson and Gregg (1994) proposed c0 between 0.25 and 4.0 (and therefore CK from 0.0625 to 16).

There is some debate as to how the overturn scale is to be estimated. Most authors equate it to the Thorpe scale LT, defined as the rms value of the displacements and obtained from binning the displacements and taking the rms value in the bin. The length of these bins is not a fixed value (Dillon, 1982) and very often not specified (Wesson and Gregg, 1994). Moreover, some (Dillon, 1982) exclude part of the dataset (data close to the surface or having a very small or zero Thorpe scale) from the analysis that leads to the determination of c0.

Generally speaking, in matters involving turbulence, any average quantity is best derived from ensembles. Substituting spatial or temporal averages for ensemble averages is not always valid or desirable. More importantly, since the Ozmidov scale is indicative of the maximum scale of the overturns in a given stably stratified region of buoyancy frequency N, there are reasons to believe that LT could probably be the ensemble average of the maximum displacements in a given overturning region, rather than the rms value of displacements in a bin. However, ensemble averaging requires multiple samples of the same overturning region, which is logistically difficult to do, especially given the episodic nature of turbulence. Absence of multiple samples of the same turbulent patch forces one to fall back on a single sample and regard the rms value obtained over a pre-selected bin as indicative of LT. Note also that these concepts are valid only in regions of stable background stratification and therefore a well-mixed upper ML or a convective ML should be excluded.

To further explore these aspects, we computed the Thorpe scale at different resolutions (0.5 m, 1 m, 2 m and 5 m) using the full dataset available at B90 at all available depths, without distinguishing between different depths. Corresponding values for the proportionality constant c0 were very similar, ranging from 3.0, 3.1, 3.1 and 3.4, well within the range proposed by Wesson and Gregg (1994). Figure 14 presents a log-log plot of the values of the LT versus LO, for the bin size of 5 m (c0 = 3.4, correlation coefficient is 0.65). Different color present data bracketing different depths. The limits proposed by Wesson and Gregg (1994) (c0 between 0.25 and 4.0) are computed following Eq. (6) and shown as black continuous parallel lines. If we use the maximum value of the displacements as indicative of the overturning scales instead of the rms value, we find c0 = 2.1 and a correlation coefficient of 0.65, for the whole data set and 5 m bin resolution.

However, if we compute the value of c0 over different depth ranges representative of perhaps different mixing processes, in the upper layers (< 15 m) c0 = 4.1, in the region bracketing the thermocline (15-30 m) co=1.5, while in the deeper regions (> 30 m) c0 = 0.3. If instead we perform our analysis choosing 2 m bin resolution, c0 values do not change much: 4.2, 0.7 and 0.3. It seems therefore that, at least for this dataset at least, a smaller value for c0 is appropriate in the deep regions. This value is close to the lower limit of the values reported by Wesson and Gregg (1994) and other investigators.

To sum up, while the approximate proportionality between the overturn scale taken as equal to the Thorpe scale LT derived from sorting the density profile and the Ozmidov scale LO is generally accepted as beyond dispute, the value of the proportionality constant remains uncertain. However, as far as turbulence measurements are concerned, our data set is too limited to resolve this issue and we conclude that more extensive measurements and careful analyses are needed. For the present study, we will use the value of c0 = 0.3 (CK = 0.09), as determined by the best fit to the dissipation rate profiles below the upper ML at station B90.

5. Results

We therefore propose that the TKE dissipation rate for the whole water column be parameterized as follows:

In the following, we focus on the three cases that were either influenced by wind (OP-2), very close to a convection regime (OP-3) or typical of a mixed situation (OP-4), characterized by values for the ratio -D/L of 0.3, 8.6 and 1.2, respectively. We consider only cases with combined convection and wind mixing (OP-2, OP-3, OP-4) since the proposed scaling in the mixed layer is not applicable to cases with stabilizing buoyancy flux at the surface.

Figure 15 shows the TKE dissipation rate profiles from microstructure measurements, plotted along with profiles constructed using the LG89 scaling of Eq. (4) (yellow line) and Eq. (8) (black line). Note that the former scaling is valid only within the ML and not below it and therefore we do not extend the yellow line below the ML. A possible explanation for the disagreement between the observations and the theoretical scaling is inaccuracies in inferring Jb0 and u* from bulk formulae. It would have been better to actually measure Jb0 and u* and we strongly suggest that this be done in future microstructure studies. As far as the value of the constant adopted for the scaling below the ML, we see that the results are in good agreement with observations when using the suggested value for CK. Even if we use a larger value for c0 of 0.77  (CK = 0.6), the agreement remains fairly good (note the logarithmic scale).

The conventional parameterization (yellow line in Fig. 15) was adopted by Stips et al. (2002), who found that the parameterization within the ML was in better agreement during daytime than during night-time. Indeed, during OP-2, characterized by a positive short wave flux, this parameterization compares well (correlation coefficient r=0.93) with our measurements. It does not however match measurements during OP-3 (performed at night and characterized by strong cooling and convection), where it is smaller by a factor of about 10, with a poor correlation (r=0.07). At the same time, in line with what LG89 originally proposed, results for the night-time OP-4 are quite good, characterized by a correlation coefficient r= 0.91. The alternative parameterization proposed in Eq. 8 (black line in Figure 15), behaves similarly, with correlation coefficients for the same three cases of 0.78, 0.03 and 0.94 within the ML. When applied to the entire water column, the coefficients become 0.63, 0.14 and 0.56.

Both of the theoretical scalings that were used only consider one dimensional vertical effects and horizontal variations and advective processes are neglected.  However, a portion of the restratification of the ML is unaccounted for by estimates of vertical processes, most likely due to lateral processes (Hosegood et al., 2008). In most studies, lateral effects cannot be evaluated due to the horizontal point sampling nature of microstructure and CTD probes. However, the DART array with automated, horizontally-spaced, synoptically-profiling SEPTR moorings provided data on horizontal processes at the same time as vertical processes were measured by the microstructure profiler.  Here we estimate the role of across-shore horizontal advection and mesoscale and inertial stirring at B90 over the 6 hours sampling intervals of SEPTR by evaluating the integrated conservation of mass equation for a fixed volume (e.g. see Equation 7 in Hosegood et al., 2008) using B75 and B90 density profiles to estimate the gradient of potential density, and 6-hr lowpass filtered B90 velocity profiles for advection.

(9)

The results are shown in Figure 16.

The surface ML and the lower water column are both relatively vertically and horizontally homogeneous in the Station B90 region, and therefore horizontal gradients of density are primarily concentrated in the pycnocline region throughout the OPs.  This is illustrated by the two 1027 kg/m3 (representative of the pycnocline) contours plotted in Figure 16 from Stations B75 and B90 respectively.  The inshore site, B75, consistently has a slightly deeper pycnocline depth (as in a geostrophic warm core anticyclonic eddy) and therefore currents at the pycnocline level will flow across the resulting horizontal density gradient and lead to an advective density flux.  During OP-1/2 the advective density flux is small because the velocity minimum of the near-inertial wave is located in the pycnocline (Figure 6).  However, when the velocity maximum of the near-inertial waves relocates to the pycnocline during latter OPs, the advective density flux in the pycnocline can become substantial (Figures 6 and 16). Therefore inertial stirring could be an important mixing mechanism at Station B90 near the base of the ML and the pycnocline region when near-inertial waves become trapped or concentrated there.  Further support for this hypothesis can be found in the Aquashuttle observations discussed in Burrage et al. (2009) where salinity and fluorescence anomalies were observed to spread away from minimum/maximum cores along the pycnocline rather than through the ML. The effect of lateral processes seem therefore to be confined to the base of the ML.

6. Concluding remarks

During the late August 2006 cruise in the southern Adriatic Sea under the NRL/NURC DART 06B observational campaign, we were able to perform microstructure measurements in the upper layers of a 90 m deep water column in the Gulf of Manfredonia under a variety of meteorological conditions. This has enabled us to look at the turbulence in the upper oceanic ML under strong wind forcing, night-time convection, mixed convection and wind forcing, weak wind forcing and strong insolation. During the study period the ML was shallow between 15 and 25 m. Over 160 profiles were taken providing a rich kaleidoscope of turbulence behavior in a typical strong summertime oceanic thermocline. The TKE dissipation rate measurements in the ML turned out to be consistent with similarity scaling derived from theoretical considerations although there were some disagreements. In the interior, below the ML, the scaling derived from buoyancy frequency and the overturn scale (Eq. 8) agreed relatively well with observations.

In view of the variability shown during the measurements, it is clear that the availability of high-frequency meteorological forcing and robust turbulence closure schemes are essential to accurate parameterization of sub-grid scale processes. Current numerical models of turbulent mixing, such as GOTM and Kantha and Clayson (2004), are able to model turbulent mixing when provided with an adequately resolved surface forcing and high-resolution velocity shear. Since numerical ocean models of the Adriatic Sea require realistic levels of mixing for accurate depictions of the water mass and current structure in the water column, we believe that turbulence observations such as those presented here need to be carried out more routinely, in order to provide a good comparison database. In this respect, the dataset presented here enhances considerably our previous knowledge of turbulence in the Adriatic Sea gained from roughly 70 microstructure profiles obtained by Peters and Orlic (2005) and Peters et al. (2007) during the DOLCEVITA cruises in 2003, and those described in Carniel et al., 2008.

Finally, the role of horizontal variations and fluxes are often not considered in the interpretation of microstructure measurements. These non-linear processes can be quite complex and involve interactions at various scales, as illustrated by this case where a mesoscale feature (an anticyclonic eddy) both produced a horizontal density gradient and also trapped a near-inertial wave at the base of the mixed layer, all of which served to produce horizontal advective density fluxes in the pycnocline. Further analysis of these processes for the Adriatic and elsewhere are needed.

Acknowledgements. This research was supported by the Office of Naval Research under its NICOP program with grants N00014-05-1-0730 to Sandro Carniel, and N00014-05-1-0759 and N00014-06-1-0287 to Lakshmi Kantha. CNR-ISMAR acknowledges the support from the VECTOR-FISR Project and the CNR-RSTL funded project “MOM”. Opportunity to collaborate with NURC and NRL teams is also greatly appreciated. The work of Jeffrey W. Book was supported by the Office of Naval Research as part of the “Dynamics of the Adriatic in Real Time” and “Quantifying Mechanisms of Diapycnal Mixing in Strong Frontal Regions” under Program Elements 0602435N and 0601153N, respectively.  Many thanks to the Captain and crew of R/V Alliance for their unmatched hospitality.

Appendix A: Turbulence Measurement Details

A.1 Determination of the Velocity Shear

For velocity shear measurements, the MSS profiler is equipped with two PNS shear sensors. This airfoil type sensor is described in Prandke (2005) and Carniel et al., 2010, and a sketch is presented in Figure A.1. Following Allen and Perkins (1952), for an axially symmetric airfoil in an inviscid flow of speed U and an angle of attack (, the cross force fP per unit length due to the potential flow can be expressed as

(A1)

where ( is the density of the fluid and dA/dx is the rate of change in the airfoil cross section area in axial direction. To get the total cross force F, Eq. (A1) can be integrated along the axis from the tip to the position where dA/dx is zero:

(A2)

The piezoceramic beam voltage output is proportional to the cross-force at the tip of the probe. Thus, the probe sensitivity S can be determined by

(A3)

where Erms is the rms voltage output of the shear probe, and the factor 0.5 and A from Eq. A2 are now included in the sensitivity S. The probe sensitivity S has the dimension Vms2kg-1.

The output of the shear probe is an AC voltage signal, however, the calibration is based on rms DC voltage measurement (Eq. A3). Consequently, the output of the piezo-ceramic beam Ebeam can be written as

(A4)

where V is the axial component and u is the cross-stream component of the flow speed U,

respectively. A simple plot explaining the geometry of the shear probe measurements is shown in Figure A.2. Considering the total gain G of the sensor electronics, the output of the sensor is

(A5)

The sensor output is a time dependent signal proportional to the temporal change of the velocity cross component. The probe velocity V is assumed to be constant. To obtain the current shear profile, Es has to be differentiated.

(A6)

The shear profile can be obtained using  Rearrangement of Eq. (A6) gives

(A7)

The sinking velocity V is calculated from the pressure and time channels. A mean density of 1010 kg/m3 is been used. The linear trend in the shear profiles is removed (detrending over 1024 data lines = 1 Hz).

A.2 Dissipation Rate of TKE and Diffusivities

The dissipation rate ( for isotropic turbulence has been calculated from the shear values using the equation for isotropic turbulence (see Gregg, 1987, Peters et al., 2007)

(A8)

where ( is the kinematic viscosity of water (to be calculated from temperature) and du/dz is the velocity shear. The viscosity was determined from the temperature using a polynomial approximation

( =  1.792747 - 0.05126103 T + 0.0005918645 T2 		           (A9)

where T is the temperature in (C and the viscosity ( is in 10-6 m2s-1.

The velocity shear variance is calculated by integrating the power spectrum in the wave number range from 2 to 30 cpm. The limitation of the high wave number cut off to 30 cpm is due to narrow band vibration peaks in the wave number range above 30 cpm resulting from eddy generation at the probe guard of the profiler.  The low wave number cut off at 2 cpm is to eliminate contributions from low frequent tumbling motions of the profiler. The calculated dissipation rates have been corrected for the unresolved low wave number range (cut off at 2 cpm) and high wave number range (cut off at 30 cpm) of the spectrum, using correction coefficients obtained from the universal turbulence spectrum (Nasmyth 1970, Oakey 1982).

The variance has been calculated in bins of 512 data records (corresponding to approx. 0.3 m depth intervals), with 256 records overlap of the depth bins. Finally, 0.5 dbar depth bins of the dissipation rates have been calculated.

The dissipation rate calculation has been carried out for both shear sensors #1 and #2, and the calculated dissipation rates showed a good agreement. A mean dissipation profile has been calculated from both dissipation profiles. However, in some profiles spikes occurred in one of the two dissipation profiles. We assume a hit of larger particles (which frequently could be seen in the near surface water) to be a reason for the isolates spikes. To eliminate an influence of these spikes in the mean dissipation profile calculated from the two sensors, the following procedure was applied: A mean dissipation value has been calculated if the values of one sensors did not exceed the other one by a factor of 5. If one sensor was larger by a factor of more than 5 in the respective depth interval, the smaller value was taken for the mean profile.

Finally, all mean dissipation profiles have been inspected visually. In depth ranges of particular high dissipation values, the vertical profiles of the shear data and the profiler acceleration were checked. If the high dissipation values were correlated with particular high profiler vibration or extreme amplitudes in the shear signal (e.g., caused by large particles in the water), the calculated dissipation was substituted by interpolated values.

The dissipation rate ( of the microstructure temperature variance has been computed from (Gregg 1987)

(A10)

(T is molecular diffusivity for heat in sea water (1.4·10-7 m2s-1). For a discussion of the uncertainties and limitations in measuring ( and (, see Gregg (1999, see also Moum et al. 1995).

For estimating the length scale of turbulent overturns in stratified turbulence we used the Thorpe scale (see Thorpe, 1977). The density profile for 0.1m depth intervals have been calculated from the CTD sensors of the MSS. This profile has been reordered to obtain a monotonic profile without density inversions. The Thorpe displacement d is the vertical displacement to achieve a static stable profile. The Thorpe scale LT has been computed as the root mean square of the Thorpe displacements for 0.5 dbar intervals.

All hydrographic parameters have been calculated at 0.5 dbar intervals. Salinity and density ((t) have been computed from temperature (PT 100), conductivity (7-pole cell) and pressure following EOS80. The Brunt-Väisälä frequency has been calculated following (Gill 1982):

(A11)

where g is the gravity constant, ( the thermal expansion coefficient, ( the adiabatic lapse rate, and ( the expansion coefficient for salinity s. (, (, and ( were computed following EOS80.

Eddy diffusivities have been calculated at 0.5 dbar depth intervals from dissipation rates using

(A12)

following Osborn (1980, see also Gregg 1987) where N is the buoyancy frequency, ( the dissipation rate, and (  the mixing efficiency, chosen to be a constant  equal to 0.2, even though the exact value is somewhat uncertain. An additional independent estimate for the eddy diffusivity, based on the assumption that the Thorpe scale is proportional to the Ozmidov scale is given by

(A13)

Eqs. (5) and (A12) suggest a value of 0.006 for c.

The dissipation rate  of the temperature variance was also measured (Gregg 1987) and the eddy diffusivity of heat Kh was estimated from and the vertical temperature gradient, following Osborn and Cox (1972):

(A14)

Both K( and Kh are measures of the intensity of turbulent mixing and generally track each other well (Peters et al. 1988).

For examples of use of this type of microstructure profiler, see Lass et al., 2003, Burchard et al., 2002, Carniel et al., 2010.

References

Allen, H.J., and E.W. Perkins (1952). A study of effects of flow over slender inclined bodies of revolution. Report No. 1048, U.S. National Advisory Committee for Aeronautics.

Anis, A., and J.N. Moum (1995). Surface wave-turbulence interactions, scaling ((z) near the sea surface. J. Phys. Oceanogr., 25, 2025-2045.

Book, J.W., P. Martin, M. Rixen, J. Dykes, D. Wang, S. Ladner, M. Tudor, and J. Chiggiato (2008). Real-Time Coastal Monitoring and Prediction for Operations and Research, in 2007 NRL Review, Naval Research Laboratory, 4555 Overlook Ave., SW, Washington, DC 20375-5320, pgs. 187-190.

Book, J.W., R.P. Signell, and H. Perkins (2007). Measurements of storm and nonstorm circulation in the northern Adriatic: October 2002 through April 2003, J. Geophys. Res., 112, C11S92, doi:10.1029/2006JC003556.

Brainerd, K.E., and M.C. Gregg (1993a). Diurnal restratification and turbulence in the oceanic mixed layer, 1, Observations, J. Geophys. Res., 98,  22645-22656.

Brainerd, K.E., and M.C. Gregg (1993b). Diurnal restratification and turbulence in the oceanic mixed layer, 2, Modeling, J. Geophys. Res., 98,  22657-22666.

Burchard, H., K. Bolding, T.P. Rippeth, A. Stips, J.H. Simpson, and J. Sundermann (2002). Microstructure of turbulence in the northern North Sea: a comparative study of observations and model simulations, J. Sea Res., 47, 223-238.

Burrage, D.M., J.W. Book, and P.J. Martin (2009). Eddies and filaments of the Western Adriatic Current near Cape Gargano: Analysis and prediction, J. Marine Syst., 78, S205-S226, doi:10.1016/j.jmarsys.2009.01.024.

Budiko, K. (1974). Climate and life, Academic Press, 508 pp.

Caldwell, D.R. (1983). Oceanic turbulence: big bangs or continuous creation? J. Geophys. Res., 88, 7453-7550.

Carniel, S., L.H. Kantha, A. Bergamasco, H. Prandke, R.J. Small, and M. Sclavo (2010). Layered Structures in the Upper Ligurian Sea. Il Nuovo Cimento B, Vol. 125B, n. 10, DOI 10.1393/nc/i2010-11113-7

Carniel, S., M. Sclavo, L.H. Kantha, and C.A. Clayson (2005). Langmuir cells and mixing in the upper ocean. Il Nuovo Cimento, 28C(1), pp. 33-54. DOI: 10.101393/ncc/2005-10022-8

Carniel, S., M. Sclavo, L.H. Kantha, and H. Prandke (2008). Double-Diffusive Layers in the Adriatic Sea. Geophysical Research Letters, 35, L02605. doi:10.1029/2007GL032389.

Dillon, T.M. (1982). Vertical overturns: a comparison of Thorpe and Ozmidov length scales. J. Geophys. Res., 85, 9601-9613.

Dillon, T.M., J.G. Richman, C.G. Hansen, and M.D. Pearson (1981). Near-surface turbulence measurements in a lake, Nature, 290, 390-392.

Fairall, C.W., E.F. Bradley, D.P. Rogers, J.B. Edson, and G. S. Young (1996). Bulk parameterization of air-sea fluxes for Tropical Ocean-Global Atmosphere Coupled-Ocean Atmosphere Response Experiment, J. Geophys. Res., 101(C2), 3747–3764.

Fer, L., R. Skogseth, and P.M. Haugan (2004). Mixing of the Storjorden overflow (Svalbard Archipelago) inferred from density overturns. J. Geophys. Res., 109, 1-14.

Ferron, B., H. Mercier, K. Speer, A. Gargett, and K. Polzin, (1998). Mixing in the Romanche fracture zone. J. Phys. Oceanogr., 28, 1929-1945.

Galbraith, P.S., and D.E. Kelly (1996). Identifying overturns in CTD profiles. J. Atmos. Ocean. Tech., 13, 688-702.

Gargett, A.E., (1999). Velcro measurements of turbulent kinetic energy dissipation rate. J. Atmos. Ocean. Tech., 16, 1973-1993.

Gill, A.E. (1982). Atmosphere-Ocean Dynamics. Academic Press.

Gregg, M.C. (1987). Diapycnal mixing in the thermocline: A review. J. Geophys. Res., 92, 5249-5286.

Gregg, M.C. (1999). Uncertainties and limitations in measuring ( and (T, J. Atmos. Ocean. Tech., 16, 1483-1490.

Hebert, D., and J.N. Moum (1994). Decay of a near-inertial wave. J. Phys. Oceanogr., 24, 2334-2351.

Hosegood, P.J., M.C. Gregg, and M.H. Alford (2008). Restratification of the surface mixed layer with submesoscale lateral density gradients: Diagnosing the importance of the horizontal dimension. J. Phys. Oceanogr., 38, 2438-2460, doi:10.1175/2008JPO3843.1.

Kantha, L.H. (1980). Turbulent entrainment at a buoyancy interface due to convective turbulence. In Fjord Oceanography, edited by H.J. Freeland, D.M. Farmer and C.D. Levings, Plenum Press, 205-214.

Kantha, L.H. (1995). A numerical model of Arctic leads. J. Geophys. Res., 100,  4653-4672.

Kantha, L.H., and C.A. Clayson (2004). On the effect of surface gravity waves on mixing in an oceanic mixed layer, Ocean Modelling, 6, 101-124.

Kantha, L. H. U. Lass, and H. Prandke (2010). Stokes production of turbulence kinetic energy in the oceanic mixed layer: Observations in the Baltic Sea, Ocean Dynamics, 60, 171-180. DOI: 10.1007/s10236-009-0257-7.

Kunze, E., R.W. Schmitt, and J.M. Toole (1995). The energy balance in a warm-core ring’s near-inertial critical layer, J. Phys. Oceanogr., 25, 942-957.

Lass, H.U., H. Prandke, and B. Liljebladh (2003). Dissipation in the Baltic proper during winter stratification, J. Geophys. Res., 108, No. C6, 3187, doi:10.1029/2002JC001401.

Lee, C.M., F. Askari, J. Book, S. Carniel, B. Cushman-Roisin, C. Dorman and others (2005). Northern Adriatic response to a wintertime bora wind event. EOS, Transactions, American Geophysical Union, 86(16), 157, 163, 165.

Lombardo, C.P., and M.C. Gregg (1989). Similarity scaling of viscous and thermal dissipation in a convecting surface boundary layer, J. Geophys. Res., 94, 6273-6284.

Lozovatsky I., Figueroa M., Roget E., Fernando H.J.S., and S. Shapovalov (2005). Observations and scaling of the upper mixed layer in the North Atlantic. J. Geophys. Res., 110, C05013.

Magaldi, M.G., T.M. Özgökmen, A. Griffa, and M. Rixen (2010). On the response of a turbulent coastal buoyant current to wind events: the case of the Western Adriatic Current, Ocean Dyn., 60, 93-122, doi:10.1007/s10236-009-0247-9.

Moum, J.N. (1996). Energy-containing scales of turbulence in the ocean thermocline.  J. Geophys. Res., 101, 14095-14101.

Moum, J.N., M.C. Gregg, R.C. Lien, and M.E. Carr (1995). Comparison of turbulence kinetic energy dissipation rate estimates from two ocean microstructure profilers, J. Atmos. Oceanic Tech., 12, 346-366.

Nasmyth, P.W. (1970). Oceanic Turbulence. Ph.D. thesis, University of British Columbia, Vancouver, B.C.

Oakey, N.S. (1982). Determination of the rate of dissipation of turbulent energy from simultaneous temperature and velocity shear microstructure measurements. J. Phys. Oceanogr., 12, 256-271.

Osborn, T.R. (1980). Estimates of the local rate of vertical diffusion from dissipation measurements. J. Phys. Oceanogr., 10, 83-89.

Osborn, T.R., and C.S. Cox (1972). Oceanic fine structure. Geophys. Fluid Dyn., 3, 321-345.

Payne, R.E. (1972). Albedo of the sea surface. Journal of the Atmospheric Sciences, 29, 959-970.

Peters, H., and M. Orlic (2005). Ocean mixing in the springtime central Adriatic Sea, Geofizika 22, 1-19.

Peters, H., M.C. Gregg, and J.M. Toole (1988). On the parameterization of equatorial turbulence, J. Geophys. Res., 93, 1199-1218.

Peters, H., C.M. Lee, M. Orlic, and C.E. Dorman (2007). Turbulence in the wintertime northern Adriatic Sea under strong atmospheric forcing, J. Geophys. Res., 112, C6, C06S99

Pollard R.T., P.B. Rhines, and O.R.Y. Thompson (1973). The deepening of the wind-mixed layer. Geophys. Fluid Dyn., 3, 381-404.

Prandke, H., (2005). Microstructure sensors. In: H. Baumert, J. Simpson, and J. Suendermann (editors): Marine Turbulence: Theories, Models, and Observations. Cambridge University Press, 101-109.

Prandke, H., K. Holtsch, and A. Stips (2000). MITEC Report Technical Note No. I.96.87, European Commission, Joint Research Centre, Space Applications Institute, Ispra/Italy.

Signell, RP, S. Carniel, L. Cavaleri, J. Chiggiato, J.D. Doyle, J. Pullen, and M. Sclavo (2005), Assessment of wind quality for oceanographic modelling in semi-enclosed basins, J. Mar. Syst., 53(1-4), 217-233.

Shay, T.J., and M.C. Gregg (1984). Turbulence in an oceanic convective mixed layer. Nature, 310, 282-285.

Shay, T.J., and M.C. Gregg (1986). Convectively driven turbulent mixing in the upper ocean. J. Phys. Oceanogr., 16, 1777-1798.

Stips, A., H. Burchard, K. Bolding, and W. Eifler (2002). Modelling of convective turbulence with two-equation k-ε turbulence closure scheme. Ocean Dyn., 52, 153-168.

Thorpe, S.A. (1977). Turbulence and mixing in a Scottish Loch. Phil. Trans. Roy. Soc. London, Ser. A 286, 125-181.

Thorpe, S.A. (2005). The Turbulent Ocean. Cambridge Univ. Press, pp.439.

Tillmar N. and P.H. Alfredsson, 1993. Turbulence in Plane Couette Flow. Applied Scientific Research, 51, 237-241.

Wesson, J.C., and M.C. Gregg (1994). Mixing in the Camarinal Sill in the Strait of Gibraltar. J. Geophys. Res., 99, 9847-9878.

Table Caption

Table 1. List of microstructure measurements at station B90 during the DART06B cruise.

Figures Captions

Figure 1. Station B90 (red circle) was where microstructure observations were made near moorings deployed under the NRL/NURC DART06B campaign. Station B75 is indicated by a cyan circle. SEPTR buoy are represented with green circles.

Figure 2. Meteorological conditions during the six observational periods of microstructure measurements at station B90 in the southern Adriatic Sea during late August 2006. Proceeding from left to right, OP-1, OP-2, OP-3, OP-4 and OP-5/6. In the top panel red dots denote air temperature and the blue dots SST. Data were acquired by the meteo stations on the NRV Alliance.

Figure 3. Heat (top panel) and buoyancy fluxes (bottom panel) at the sea surface during the six observational periods of microstructure measurements at station B90. Proceeding from left to right: OP-1, OP-2, OP-3, OP-4 and OP-5/6.

Figure 4. Friction velocity u* and convective velocity scale w* (cm/s, top panel); Monin-Obukhov length scale (L, meters) and the non-dimensional ratio  (bottom panel) during the 6 observational periods of microstructure measurements at station B90. The OPs are from left to right OP-1, OP-2, OP-3, OP-4 and OP-5/6.

Figure 5. Temperature evolution at station B90 as observed by the string of 16 thermistors deployed near the SEPTR mooring during the 6 OPs of turbulence measurements (black dots) and associated thermocline depth (21 deg. isotherm given as a dashed line). Data were sampled every 3 minutes and plotted unfiltered. The upper panel presents the wind direction and magnitude (m/s) from the meteorological model LAMI at a model gridpoint nearby station B90 (data every 3 hours).

Figure 6. Across-shore (top panel) and along-shore (middle panel) components of velocity (m/s) in the water column at Station B90 during the study period, as determined from ADCP measurements. The bottom panel additionally shows the near-inertial band (filtered by a 4th order band-pass Butterworth filter ran forwards and backwards with cutoff frequencies of 1.2 and 1.9 cycles per day) component of the across-shore flow. The gray dotted vertical lines denote the starts and ends of the different OPs of microstructure measurements.

Figure 7. The median gradient Richardson number profiles in the water column at Station B90 during the different observational periods, as determined from ADCP and MSS measurements. The thick line corresponds to Ri value of 0.25.

Figure 8. Profiles of temperature (°C) and salinity (PSU, red), density (kg m-3), buoyancy frequency (s-1), and the Thorpe scale (top panels); TKE dissipation rate (W kg-1), temperature variance dissipation rate (K2 s-1), eddy diffusivity Kρ (m2s-1), and the heat diffusivity Kh (m2s-1) (bottom panels) as measured during OP-1 (see Table 1). The blue line denotes the corresponding mean value, the two thinner lines are the bootstrap confidence limits. Note the small dissipation rates in the mixed layer proper. The slow change in salinity during the OP is due to the ship drifting over a patch of brackish water.

Figure 9. As in Figure 8 but for OP-2. Note the strong dissipation rates and the large Thorpe scales in the upper 10 m of the water column due to strong wind forcing.

Figure 10. As in Figure 8 but for OP-3. Note the strong dissipation rates, large Thorpe scales and the deep ML. The turbulence here is predominantly convection-driven.

Figure 11. As in Figure 8 but for OP-4. During the acquisition there was evidence of a slow decrease in salinity in the mixed layer due to the ship drifting over a brackish patch of water.

Figure 12. Same as in Figure 8 but during OP-5 (see Table 1), under strong solar insolation and weak winds.

Figure 13. Same as Figure 8 but during OP-6, under reduced solar insolation but stronger winds.

Figure 14. Plot of LT versus LO , using the dataset of the 6 OPs presented in this paper, at 5 m bin resolution. Blue dots: measurements shallower than 15 m; green dots: measurements between 15 and 30 m; red dots: measurements below 30 m.

Figure 15. Observed dissipation rates (the average is in green) compared with theoretical scaling for OP-2, OP-3 and OP-4: yellow line using Eq. 4, black line using Eq. 8.

Figure 16. Potential density change (kg/m3) from horizontal density advection estimated from the integrated conservation of mass equation for a fixed volume (Equation 7 in Hosegood et al., 2008) using B75 and B90 density profiles to estimate the gradient of potential density, and 6-hour low-pass filtered B90 velocity profiles for advection.  The 1027 kg/m3 isopycnal contours for B90 and B75 are drawn in black and labeled for reference. The gray dotted vertical lines denote the starts and ends of the different OPs of microstructure measurements.

Figure A.1. Sketch of the apparatus employed during the turbulence measurements.

Figure A.2. The geometry of shear probe measurements.

Figure A.1. Sketch of the apparatus employed during the turbulence measurements.

Figure A.2. The geometry of shear probe measurements.

| Station Lat °N, Long °E (from–to) | Date (UTC) Begin | Date (UTC) End | Names of micro-structure profiles | Number of profiles | Notes |
| --- | --- | --- | --- | --- | --- |
| OP-1 41.6788, 16.6013 41.6876, 16.6399 | 2006-Aug-21 13.09 | 2006-Aug-21 15.26 | D06B0081 D06B0119 | 39 | Water depth 90m, Low wind speed |
| OP-2 41.6770, 16.6000 41.6222, 16.6333 | 2006-Aug-21 17.03 | 2006-Aug-21 18.48 | D06B0120 D06B0143 | 24 | Water depth 90m, High wind speed |
| OP-3 41.6773, 16.6002 41.6610, 16.6320 | 2006-Aug-22 23.29 | 2006-Aug-23 02.17 | D06B0164 D06B0203 | 40 | Water depth 90m, Light wind, clear sky |
| OP-4 41.6786, 16.6016 41.6671, 16.6597 | 2006-Aug-24 22.31 | 2006-Aug-25 01.05 | D06B0239 D06B0270 | 32 | Water depth 90m, Moderate to strong wind, clear sky |
| OP-5 41.6677, 16.5920 41.6389, 16.5969 | 2006-Aug-26 13.08 | 2006-Aug-26 14.40 | D06B0271 D06B0292 | 22 | Water depth 90m, Light wind, increasing, clear sky |
| OP-6 41.6375, 16.5976 41.6292, 16.6000 | 2006-Aug-26 14.45 | 2006-Aug-26 15.13 | D06B0293 D06B0298 | 6 | Water depth 90m, High wind, clear sky |

Table 1. List of microstructure measurements at station B90 during the DART06B cruise

Figure 1. Station B90 (red circle) was where microstructure observations were made near moorings deployed under the NRL/NURC DART06B campaign. Station B75 is indicated by a cyan circle. SEPTR buoy are represented with green circles.

Figure 2. Meteorological conditions during the six observational periods of microstructure measurements at station B90 in the southern Adriatic Sea during late August 2006. Proceeding from left to right, OP-1, OP-2, OP-3, OP-4 and OP-5/6. In the top panel red dots denote air temperature and the blue dots SST. Data were acquired by the meteo stations on the NRV Alliance.

Figure 3. Heat (top panel) and buoyancy fluxes (bottom panel) at the sea surface during the six observational periods of microstructure measurements at station B90. Proceeding from left to right: OP-1, OP-2, OP-3, OP-4 and OP-5/6.

Figure 4. Friction velocity u* and convective velocity scale w* (cm/s, top panel); Monin-Obukhov length scale (L, meters) and the non-dimensional ratio  (bottom panel) during the 6 observational periods of microstructure measurements at station B90. The OPs are from left to right OP-1, OP-2, OP-3, OP-4 and OP-5/6.

Figure 5. Temperature evolution at station B90 as observed by the string of 16 thermistors deployed near the SEPTR mooring during the 6 OPs of turbulence measurements (black dots) and associated thermocline depth (21 deg. isotherm given as a dashed line). Data were sampled every 3 minutes and plotted unfiltered. The upper panel presents the wind direction and magnitude (m/s) from the meteorological model LAMI at a model gridpoint nearby station B90 (data every 3 hours).

Figure 6. Across-shore (top panel) and along-shore (middle panel) components of velocity (m/s) in the water column at Station B90 during the study period, as determined from ADCP measurements. The bottom panel additionally shows the near-inertial band (filtered by a 4th order band-pass Butterworth filter ran forwards and backwards with cutoff frequencies of 1.2 and 1.9 cycles per day) component of the across-shore flow. The gray dotted vertical lines denote the starts and ends of the different OPs of microstructure measurements.

Figure 7. The median gradient Richardson number profiles in the water column at Station B90 during the different observational periods, as determined from ADCP and MSS measurements. The thick line corresponds to Ri value of 0.25.

Figure 8. Profiles of temperature (°C) and salinity (PSU, red), density (kg m-3), buoyancy frequency (s-1), and the Thorpe scale (top panels); TKE dissipation rate (W kg-1), temperature variance dissipation rate (K2 s-1), eddy diffusivity Kρ (m2s-1), and the heat diffusivity Kh (m2s-1) (bottom panels) as measured during OP-1 (see Table 1). The blue line denotes the corresponding mean value, the two thinner lines are the bootstrap confidence limits. Note the small dissipation rates in the mixed layer proper. The slow change in salinity during the OP is due to the ship drifting over a patch of brackish water.

Figure 9. As in Figure 8 but for OP-2. Note the strong dissipation rates and the large Thorpe scales in the upper 10 m of the water column due to strong wind forcing.

Figure 10. As in Figure 8 but for OP-3. Note the strong dissipation rates, large Thorpe scales and the deep ML. The turbulence here is predominantly convection-driven.

Figure 11. As in Figure 8 but for OP-4. During the acquisition there was evidence of a slow decrease in salinity in the mixed layer due to the ship drifting over a brackish patch of water.

Figure 12. Same as in Figure 8 but during OP-5 (see Table 1), under strong solar insolation and weak winds.

Figure 13. Same as Figure 8 but during OP-6, under reduced solar insolation but stronger winds.

Figure 14. Plot of LT versus LO , using the dataset of the 6 OPs presented in this paper, at 5 m bin resolution. Blue dots: measurements shallower than 15 m; green dots: measurements between 15 and 30 m; red dots: measurements below 30 m.

Figure 15. Observed dissipation rates (the average is in green) compared with theoretical scaling for OP-2, OP-3 and OP-4: yellow line using Eq. 4, black line using Eq. 8.

Figure 16. Potential density change (kg/m3) from horizontal density advection estimated from the integrated conservation of mass equation for a fixed volume (Equation 7 in Hosegood et al., 2008) using B75 and B90 density profiles to estimate the gradient of potential density, and 6-hour low-pass filtered B90 velocity profiles for advection.  The 1027 kg/m3 isopycnal contours for B90 and B75 are drawn in black and labeled for reference.  The gray dotted vertical lines denote the starts and ends of the different OPs of microstructure measurements.